# Luxaflex ® Branded Specification Documents

The following branded section has been prepared by Construction Information Limited (Masterspec®) in conjunction with New Zealand Window Shades. The use of this section is subject to the following terms and conditions:

Users of this section shall rely solely on their own professional judgement and skill in determining the appropriateness of using or referring to this section and to satisfy themselves as to the accuracy of the data it contains.

Users acknowledge that neither Construction Information Limited nor the manufacturer of the products and systems described in the text are in any way liable in respect of any particular use or application of the material provided.

For more information and specification assistance please contact Luxaflex Customer Services on Free Phone 0800 223 224 to be directed to your local representative.

# 5530L	LUXAFLEX BLINDS, CURTAINS AND TRACKS

## 1.	GENERAL

This section relates to the supply and fixing of manual or motorised Luxaflex;

-	curtains

-	aluminium venetian blinds

-	pleated blinds

### 1.1	RELATED WORK

Refer to 5531L LUXAFLEX ROLLER BLINDS, SHADES AND SUNSCREENS for Roller Blinds and Shades

Refer to 5261L LUXAFLEX COUNTRYWOODS® SHUTTERS

### 1.2	ABBREVIATIONS AND DEFINITIONS

Refer to the general section 1232 INTERPRETATION & DEFINITIONS for abbreviations and definitions used throughout the specification.

The following abbreviations apply specifically to this section:

BMS	Building Management System

HAS	Home Automation System

Documents

### 1.3	DOCUMENTS REFERRED TO

Refer to the general section 1233 REFERENCED DOCUMENTS.  The following documents are specifically referred to in this section:

NZBC C/AS1	Fire Safety

AS 1530.3	Methods of fire tests on building materials, components and structures-Simultaneous determination of ignitability, flame propagation, heat release and smoke release

AS 2663	Textiles-Fabrics for window furnishings

AS 2755.3	Textile Fabrics-Determination of burning behaviour-Determination of surface burning time

AS/NZS 3837	Method of test for heat and smoke release rates for materials and products using an oxygen consumption calorimeter

### 1.4	MANUFACTURER/SUPPLIER DOCUMENTS

Manufacturer's and supplier's documents referred to in this section are:

Luxaflex Slimline® Aluminium Venetian Blinds

Luxaflex Countrywoods® Wooden Venetian Blinds

Luxaflex Woodmates® Venetian Blinds

Luxaflex Pleated Blinds

Luxaflex Duette® Blinds

Luxaflex Architella Blinds

Manufacturer/supplier contact details

Company:	New Zealand Window Shades

Web:	www.luxaflex.co.nz

Telephone:	0800 223 224

Warranties

### 1.5	WARRANTY - MANUFACTURER/SUPPLIER

Provide a material manufacturer/supplier warranty:

2 years:	Commercial Installation - For all components, including operating mechanisms and controls.

3 years:	Domestic Installation - For all components, including operating mechanisms and controls.

-	Provide this warranty on the manufacturer/supplier standard form.

-	Commence the warranty from the date of practical completion of the contract works.

Refer to the general section 1237 WARRANTIES for additional requirements.

Requirements

### 1.6	QUALIFICATIONS

Work to be carried out by trades people experienced, competent and familiar with the materials and techniques specified.

### 1.7	ACCEPTABLE PRODUCT/MATERIAL SUPPLIERS

Where a product or material supplier is named in SELECTIONS, the product/material must be provided by the named supplier.  Where more than one named supplier, any one of the named suppliers will be acceptable.

### 1.8	NO SUBSTITUTIONS

Substitutions are not permitted to any of the specified systems, components and associated products listed in this section.

### 1.9	SAMPLES

Provide the following samples for review by the Contract Administrator;

-	Sections to be used for curtain track, rods and poles.

-	Colour range samples of fabrics.

-	Sections to be used for louvres, blinds and slats.

-	Manufacturers control systems for blinds and curtains.

### 1.10	INFORMATION FOR OPERATION AND MAINTENANCE

Provide the following general operation and maintenance information as electronic PDF format documents:

~

Provide this information prior to practical completion.

### 1.11	OPERATION AND MAINTENANCE MANUALS

Refer to the general section 1239 OPERATION & MAINTENANCE for the requirements for submission and review of operation and maintenance manuals.

Provide the following operation and maintenance manual(s):

~

Include the following in the operation and maintenance manual(s):

~

### 1.12	SPARES AND MAINTENANCE MATERIALS

Provide spares and maintenance materials listed in SELECTIONS to the Principal for ongoing maintenance requirements.

Performance

### 1.13	FIRE HAZARD

Do not provide materials which, when subject to fire conditions, will emit excessive smoke or dangerous fumes.

### 1.14	EARLY FIRE HAZARD PROPERTIES

Early fire hazard properties of internal surface materials/systems when tested to NZBC C/AS1, Appendix C, Test Methods, must not exceed the following indices to NZBC C/AS1, Table 6.2.

| Properties | Index | Item | Location |
| --- | --- | --- | --- |
| (FI) Flammability index | ~ | Suspended fabrics | ~ |
| (SFI) Spread of flame index | ~ | ~ | ~ |
| (SDI) Smoke development index | ~ | ~ | ~ |

Quality control and assurance

### 1.15	INSPECTIONS

~

## 2.	PRODUCTS

Materials

### 2.1	FABRICS

Uncoated woven and knitted fabrics to NZBC C/AS1, Table 6.2 and Appendix C, AS 2663, AS 2755.3 and AS/NZS 3837.

Coated woven and knitted fabrics to NZBC C/AS1, Table 6.2 and Appendix C, AS 2663, AS 2755.3 and AS/NZS 3837.

### 2.2	CURTAINS

Proprietary curtain system, including curtains, track, rods, draw cords, or other ancillary operating system.

### 2.3	ALUMINIUM VENETIAN BLINDS

Proprietary venetian blind system, fire retardant to AS 1530.3, including top and bottom rails, aluminium slats, polyester cords and operating system.

### 2.4	COUNTRYWOOD® VENETIANS

To AS 1530.3.  Timber venetians blinds.  Manual or automated opening.

### 2.5	WOODMATES® VENETIAN BLINDS

To AS 1530.3.  Imitation timber, engineered polymer venetians blinds.  Manual or automated opening.

### 2.6	PLEATED BLINDS

Proprietary pleated blind system, made from flame retardant 100% trevia CS polyester, backed by a thin layer of aluminium.  Extruded aluminium alloy top and bottom rails, braided polyester lift and blind cords.

### 2.7	DUETTE SHADES

10mm or 20mm shades manufactured with an insulating cellular structure.  Double walled honeycomb structure, formed from 100% antistatic spun bonded polyester.

Automated Duette shades can be connected to building management systems for optional control of air conditioning loads and comfort of the building occupants.

Ultraglide shades have a cord which remains the same length whether the shade is raised or lowered.

PowerRise shades are operated by remote control.

Easyrise shades have a continuous cord loop operation to raise or lower large shades.

### 2.8	ARCHITELLA SHADES

20mm shades manufactured with an insulating cellular structure.  Double walled honeycomb structure, formed from 100% antistatic spun bonded polyester.

Accessories

### 2.9	CURTAIN TRACKS

Metal or plastic curtain track.  Refer to http://www.rufflette.co.nz

### 2.10	CURTAIN RODS

Metal, timber or plastic curtain rods.  Refer to www.rufflette.co.nz

### 2.11	RINGS FOR CURTAIN RODS

Metal, timber or plastic curtain rings to go with curtain rods.  Refer to www.rufflette.co.nz

### 2.12	HOLDBACKS

Designed to hold the curtain back from the side of the window.

Refer to www.rufflette.co.nz

### 2.13	AUTOMATIC CURTAIN OPENER

Opens and closes curtains by means of an electric motor.  Units can be supplied with an infra-red remote control unit.

### 2.14	AUTOMATION

Proprietary automation to single or groups of blinds.  System includes electric motor, remote control or hard wired switch controls.  Automation can be integrated with Building (BMS) and Home Automation Systems (HAS).  Refer to www.luxaflex.co.nz for further information.

### 2.15	STAIN PROTECTION

Duraguard® treatment that will preserve the original appearance on selected fabrics.

### 2.16	FIRE RETARDANT

Fire retardant treatment that will reduce flame spread and smoke.

## 3.	EXECUTION

Conditions

### 3.1	DELIVERY AND STORAGE

Handle and store tracks, fabrics, operating equipment and accessories to avoid damage.

Keep dry in transit, store clear of and on a level floor and cover for protection.

Avoid distortion, stretching, compression, puncturing and damage to the materials.

Do not use damaged or wet materials.

### 3.2	PRE-INSTALLATION REQUIREMENTS

Ensure that conditions are suitable for the installation, including painting and flooring completed.  Arrange for the programming of the work to suit required practice.

Installation/application

### 3.3	INSTALLATION

Carry out the fixing, installation and fitting to finish rigid, plumb, true to line and face and square, to the manufacturer's requirements.

### 3.4	INSTALL COMPONENTS

Fix all components to the manufacturer's requirements.

Completion

### 3.5	ROUTINE CLEANING

Carry out routine trade cleaning of this part of the work including periodic removal of all debris, unused materials and elements from the site.

### 3.6	DEFECTIVE OR DAMAGED WORK

Replace damaged or marked elements where repair is not possible or will not be acceptable.  Adjust operation of equipment and moving parts not working correctly.  Leave work to the standard required for following procedures.

### 3.7	PROTECTION

Provide the following temporary protection of the finished work:

Protect from water, dust, and other destructive elements.

Commissioning

### 3.8	FINAL INSPECTION AND TESTING

~

## 4.	SELECTIONS

Substitutions are not permitted to the following, unless stated otherwise.

Materials

### 4.1	CURTAINS

Location:		~

Width:		~

Height:		~

Manufacturer:		~

Fabric:		~

Colour:		~

Backing:		~

Track system:		~

Pelmet:		~

Fabric treatment:		~

Operating system:		~

Motorised system:		~

### 4.2	SLIMLINE ALUMINIUM VENETIAN BLINDS

Location:		~

Width:		~

Height:		~

Manufacturer:		Luxaflex

Model:		~

Colour:		~

Slat material:		High tensile 'bounce back' aluminium

Slat thickness:		~

Flexibility:		The crowned slat to bend 180 degrees around a 12.5 mm radius without permanent deformation

Cord:		~

Top & Bottom rails:		zincalume steel, stove enamel finish

Solar optical properties:	~

Operating system:		~

Automated system:	~

### 4.3	COUNTRYWOODS® TIMBER VENETIAN BLINDS

Location:		~

Width:		~

Height:		~

Material:		~

Colour:		~

Slat width:		~

Cords and Tapes:		2.3mm thick UV and water resistant polyester

Head rail:		~

Fascia:		~

Bottom rail:		~

Slat thickness:		~

Operating system:		~

### 4.4	WOODMATES® VENETIAN BLINDS

Location:		~

Width:		~

Height:		~

Material:		Polyresin

Colour:		~

Slat width:		~

Slat thickness:		3.2mm thick

Cords and Tapes:		2.3mm thick UV and water resistant polyester

Head rail 50, 64mm wide blinds:57 x 51mm Zincalume U section

Finish:		Stove enamelled - colour matched to blind

Fascia:		70mm

Bottom rail:		Trapezoid

Operating system:		~

### 4.5	PLEATED BLINDS

Location:		~

Width:		~

Height:		~

Model:		~

Fabric code number:	~

Blind colour:		~

Blind material:		100% Trevia CS polyester

Lift cord:		Braided polyester, 2.2mm min diameter

Blind cords:		Braided polyester, 1.0mm min diameter

Head rail:		33mm wide extruded aluminium alloy powdercoat finish

Bottom rail:		30mm wide extruded aluminium alloy powdercoat finish

Rail colour:		~

Operating system:		~

Operating control:		~

Motorised system:		~

### 4.6	DUETTE SHADES

Location:		~

Width:		~

Height:		~

Pleat width:		~

Model:		~

Fabric Type:		~

Shade Colour:		~

Shade material:		100% antistatic spun bonded polyester

Lift Cord:		Braided polyester, 2.2mm diameter min.

Blind cords:		Braided polyester, 1.0mm dia.

Head/bottom rail:		Extruded aluminium colour co-ordinated with the fabric

Operating system:		~

Operating control:		~

Motorised system:		~

### 4.7	ARCHITELLA BLINDS

Location:		~

Model:		~

Fabric Type		~

Colour:		~

Width:		~

Height:		~

Pleat width:		20mm

Operating system:		~

Operating control:		~

Motorised system:		~

Components

### 4.8	ITEM

Location:	~

Type/Brand:	~

Accessories

### 4.9	CURTAIN TRACKS

Location:	~

Type:	~

Material:	~

Colour:	~

### 4.10	CURTAIN RODS

Location:	~

Type:	~

Material:	~

Colour:	~

### 4.11	HOLDBACKS

Location:	~

Type:	~

Material:	~

Colour:	~

### 4.12	AUTOMATIC CURTAIN OPENER

Location:	~

Model:	~

### 4.13	AUTOMATION

Location:		~

Model:		~

Remote Model:		~

Number of channels:	~

Wall control model:		~

Number of wall controls:	~

Location of wall controls:	~

### 4.14	STAIN PROTECTION

Location:	~

Product:	~

### 4.15	FIRE RETARDANT

Location:	~

Product:	~

Spares and maintenance materials

### 4.16	SPARES AND MAINTENANCE MATERIALS

Provide the following spares and maintenance materials:

Item/quantity:	~

Deliver to:	~